INVITATION TO BID (ITB) SUPPLY, DELIVERY, INSTALLATION, TESTING AND COMMISSIONING OF SOLAR SYSTEM UPGRADE AND EXPANSION WORKS FOR THE NATIONAL LEADERSHIP ACADEMY CAMPUS, KISMAYO, SOMALIA

| Tender Summary |  |
| --- | --- |
| Tender Reference No. | ITB/NLA/2026/005 |
| Procurement Method | Open National Competitive Bidding |
| Location | National Leadership Academy Campus, Kismayo, Somalia |
| Issue Date | 22nd April 2026 |
| Bid Submission Deadline | 13th May 2026 |
| National Leadership Academy | National Leadership Academy (NLA) Somalia |

Tender Document

# Table of Contents

Section I - Invitation to Bid Notice

Section II - Instructions to Bidders

Section III - Bid Data Sheet

Section IV - Evaluation and Qualification Criteria

Section V - National Leadership Academy Requirements and Technical Specifications

Section VI - Bid Forms and Annexes

Section VII - Conditions of Contract and Special Conditions

Section VIII - Contract Forms

# Section I - Invitation to Bid Notice

The National Leadership Academy (NLA), a Federal Government of Somalia institution based in Kismayo, invites sealed bids from eligible and qualified contractors for the supply, delivery, installation, testing, commissioning, training, and handover of solar system upgrade and expansion works at the National Leadership Academy Campus in Kismayo, Somalia.

The assignment concerns a defined goods-and-works package for expanding the existing solar power system to serve additional campus facilities, including extension buildings and external lighting points, using the Bills of Quantities and technical requirements set out in this tender document.

National Leadership Academy: National Leadership Academy (NLA)

Procurement Title: Upgrade and Expansion of Solar System at NLA Campus, Kismayo

Tender Reference: ITB/NLA/2026 004

Procurement Method: Open National Competitive Bidding

Currency of Bid: United States Dollars (USD)

Site Location: National Leadership Academy Campus, Kismayo, Lower Juba, Somalia

Bid Validity Period: 120 calendar days from the submission deadline

Performance Security: Required from the successful bidder

Interested bidders may obtain clarification on the tender documents by submitting written requests to the address stated in the Bid Data Sheet no later than the deadline indicated therein. A site visit is strongly recommended to enable bidders to verify access conditions, installation environment, existing system interface requirements, roof and ground conditions, battery and inverter installation areas, and other operational considerations relevant to pricing and methodology.

Bids must be submitted in the form and manner set out in this document. Late bids shall be rejected. NLA reserves the right to accept or reject any or all bids, to cancel the procurement process at any time prior to award, and to award the contract in whole in accordance with applicable procurement procedures.

# Section II - Instructions to Bidders

## Scope of Bid

The National Leadership Academy invites bids for a single contract for the supply, delivery, installation, testing, commissioning, documentation, training, warranty support, and defects rectification services required for the upgrade and expansion of the existing solar power system at the National Leadership Academy campus in Kismayo.

The successful bidder shall be fully responsible for furnishing all equipment, tools, consumables, accessories, labor, supervision, transport, installation materials, protection devices, testing instruments, interface components, and all related services necessary for a complete and operational system, even where minor ancillary items are not expressly listed but are reasonably required for proper completion.

## Eligible Bidders

Bidding is open to legally registered firms, companies, or joint ventures with demonstrated experience in solar PV supply and installation, electrical works, battery storage systems, power conversion systems, and similar energy infrastructure assignments.

A bidder shall not have a conflict of interest, shall not be debarred or blacklisted by any competent public authority or donor, and shall not have engaged in corrupt, fraudulent, collusive, coercive, or obstructive practices in relation to this procurement.

## Cost of Bidding

The bidder shall bear all costs associated with the preparation and submission of its bid, including site visit costs, design review, technical consultation, and documentation. The National Leadership Academy shall not be responsible for these costs, regardless of the outcome of the procurement process.

## Clarification and Amendment of the Tender Document

Any request for clarification shall be submitted in writing within the period specified in the Bid Data Sheet. The National Leadership Academy may issue written clarifications and addenda to all known bidders without identifying the source of the query.

Any addendum issued shall form part of the tender document and bidders shall acknowledge receipt of all addenda in their bids.

## Site Visit and Bidder Due Diligence

Bidders are strongly encouraged to visit the site before submitting bids. By submitting a bid, the bidder is deemed to have satisfied itself as to the nature of the works, system integration constraints, access conditions, security requirements, labor considerations, prevailing weather conditions, and all other circumstances that may affect the contract price and completion schedule.

Failure to inspect the site shall not relieve the successful bidder from full responsibility for execution of the contract at the accepted price.

## Documents Comprising the Bid

The bid shall comprise, at minimum: Form of Tender; completed price schedules; bidder information form; copy of company registration/incorporation documents; tax compliance evidence; documentary evidence of experience; technical offer and methodology; delivery and implementation schedule; warranty and after-sales support plan; manufacturer authorization where applicable; signed anti-collusion and integrity declarations; and any other document specified in this ITB.

## Language and Currency of Bid

The bid and all related correspondence shall be in English. All prices shall be quoted in United States Dollars (USD), inclusive of delivery, installation, testing, commissioning, overheads, profit, and all applicable taxes unless expressly stated otherwise in the price schedule.

## Bid Prices

Prices shall be firm and fixed for the duration of the bid validity period and throughout contract execution, unless specifically allowed otherwise in the Special Conditions of Contract.

Bidders shall quote for all items in the BOQ. Partial bids may be rejected as non-responsive unless the National Leadership Academy expressly permits otherwise.

## Bid Validity

Bids shall remain valid for the period stated in the Bid Data Sheet. A bid valid for a shorter period may be rejected as non-responsive.

## Bid Security / Bid-Securing Declaration

Where required in the Bid Data Sheet, bidders shall submit either a bid security or a signed bid-securing declaration in the prescribed format. The National Leadership Academy may reject any bid not accompanied by the required bid security instrument.

## Submission of Bids

Bids shall only be submitted electronically, only where expressly permitted in the Bid Data Sheet. The subject line of the email shall clearly state the tender reference, and the tender title.

The bidder shall paginate and initial its bid where practicable and ensure that all schedules and declarations are duly signed by an authorized representative.

## Late Bids

Any bid received after the submission deadline shall be rejected and may remain unopened.

## Bid Opening

Bids shall be opened at the date, time, and place stated in the Bid Data Sheet. The National Leadership Academy may record the names of bidders, presence or absence of bid security, total bid price, and any other information considered appropriate.

## Evaluation of Bids

Evaluation shall be carried out in three stages:

- Preliminary responsiveness (pass/fail)

- Technical evaluation/qualification assessment

- Financial evaluation.

Only substantially responsive bids that pass the preliminary shall proceed to technical and financial evaluation stages.

The National Leadership Academy may seek written clarifications from bidders provided that such clarifications do not materially change the substance of the bid or give the bidder an unfair competitive advantage.

## Award of Contract

Subject to satisfactory post-qualification and internal approval, the contract shall be awarded to the bidder whose bid is determined to be substantially responsive, technically qualified, and lowest evaluated cost, unless the Evaluation Criteria provide for combined technical and financial scoring.

The National Leadership Academy is not bound to accept the lowest priced bid where it is found to be non-responsive, abnormally low without justification, technically inadequate, or otherwise not in the best interest of the National Leadership Academy.

# Section III - Bid Data Sheet

The following data shall supplement the Instructions to Bidders. Where there is a conflict, the information below shall prevail for this procurement.

| Ref. | Item | Particulars |
| --- | --- | --- |
| 1 | National Leadership Academy | National Leadership Academy (NLA) |
| 2 | Tender Title | Supply, Delivery, Installation, Testing and Commissioning of Solar System Upgrade and Expansion Works for the National Leadership Academy Campus, Kismayo, Somalia |
| 3 | Tender Reference | ITB/NLA/2026 004 |
| 4 | Procurement Method | Open National Competitive Bidding |
| 5 | Bid Currency | United States Dollars (USD) |
| 6 | Language | English |
| 7 | Bid Validity | 120 calendar days from the bid submission deadline |
| 8 | Clarification Deadline | 10th May 2026 |
| 9 | Pre-bid / Site Visit | A pre-bid site visit is recommended. Please submit the credentials (ID, Passport) for your company and date of the visit for facilitation through this email. procurement@nla.so |
| 10 | Submission Deadline | 13th May 2026 |
| 11 | Opening of Bids | TBD |
| 12 | Required Completion Period | Maximum 4 weeks from contract commencement |
| 13 | Warranty Period | Minimum 12 months from final acceptance; longer manufacturer warranties to be passed through to NLA |
| 14 | Payment Terms | As per Special Conditions of Contract; suggested milestone-based payments subject to inspection and acceptance |

# Section IV - Evaluation and Qualification Criteria

NLA shall evaluate bids using a two-stage responsiveness and best-value approach suitable for defined solar goods-and-installation procurements. The matrix below shall be used to evaluate this bid:

## A. Preliminary / Mandatory Evaluation (Pass/Fail)

Signed Form of Tender

Completed price schedule / BOQ

Valid certificate of incorporation / business registration

Valid tax compliance / tax registration evidence

Bid signed by authorized representative with power of attorney or board authorization where applicable

Bid validity meeting the required period.

Acceptance of NLA anti-fraud, anti-collusion, and code-of-conduct requirements

No material deviation from the required scope, quantities, or technical requirements

Company Profile

## B. Technical and Qualification Evaluation

| Criterion | Maximum Score | Minimum Requirement | Guidance |
| --- | --- | --- | --- |
| Relevant company experience in solar PV / battery / inverter installations of similar complexity during the last 5 years | 20 | At least 3 comparable assignments | Provide contracts, completion certificates, or references |
| Technical methodology and implementation plan including mobilization, installation sequence, testing, commissioning, and handover | 20 | Adequate | Should show understanding of integration with existing system |
| Qualifications of key personnel (project manager, electrical engineer/technician, site supervisor, HSE focal point) | 15 | Adequate | Attach CVs/licenses as applicable |
| Compliance with technical specifications and completeness of data sheets | 20 | Substantially compliant | Attach brochures/data sheets and identify any deviations |
| Warranty, after-sales support, maintenance response, and availability of spare parts / local technical support | 10 | Adequate | Response time and service capability will be assessed |
| Delivery period and implementation schedule | 10 | Within required period | Shorter realistic schedules may score higher |
| Health, safety, environment, and quality assurance approach | 5 | Adequate | RAMS, electrical safety, and waste handling expected |

Technical pass mark: 70 out of 100. Only bidders meeting or exceeding the technical pass mark shall proceed to financial evaluation.

## C. Financial Evaluation

The financial evaluation shall compare the total corrected bid prices of bids that are substantially responsive and technically qualified. Arithmetic checks, completeness of pricing, reasonableness of rates, and adequacy of allowance for accessories and related services may be considered. Award is recommended to the lowest evaluated responsive bidder using the following formula below.

Financial Score = (Lowest Evaluated Price / Bidder Price) x 30

# Section V - National Leadership Academy Requirements and Technical Specifications

## Background and Objective

The National Leadership Academy has an existing solar installation serving parts of the campus. NLA now seeks to upgrade and expand that system so that additional buildings and outdoor facilities can be reliably served through an improved solar energy solution with appropriate storage, conversion, protection, and installation components.

The objective of the contract is to deliver a complete, safe, durable, and fully operational solar power upgrade and expansion package, including all civil, structural, electrical, and commissioning works necessary for satisfactory operation and handover.

## Scope of Works

Review the existing site conditions and verify the interface requirements with the current solar installation and distribution arrangement.

Supply and deliver all solar PV panels, batteries, inverter(s), cables, support structures, protection accessories, integrated solar streetlights, and ancillary materials.

Install mounting structures, PV arrays, batteries, inverters, cabling, switches, protections, terminations, labeling, and all system accessories.

Test, commission, and demonstrate the system under operating conditions.

Provide as-built drawings, operation and maintenance manuals, warranty certificates, serial number schedules, and basic operator training for NLA personnel.

Rectify defects identified during testing, commissioning, or the warranty period.

## Bills of Quantities (BOQ) and Minimum Item Specifications

| No. | Description | Qty | Minimum Specification / Notes |
| --- | --- | --- | --- |
| 1 | High Quality 600Watt Solar PV | 50 | High-efficiency mono or equivalent 600W modules with datasheet and warranty. |
| 2 | Battery 51.2kWh | 1 | 51.2kWh battery bank/system complete with BMS and cabinet/rack requirements as applicable. |
| 3 | Battery Cable 50 mm Square | 22 | Suitable battery interconnection cable, correctly rated and terminated. |
| 4 | ET 50kW Inverter | 1 | 50kW inverter complete with accessories, monitoring, and protections. |
| 5 | STS | 1 | Static transfer switch or equivalent system component, compatible with system design. |
| 6 | Solar Structure | 50 | Hot-dip galvanized or corrosion-resistant support structure suitable for site conditions. |
| 7 | PV Solar Cable 6mm Square | 2400 | PV DC cable, UV resistant and appropriately rated for solar use. |
| 8 | AC Cables 35mm Square | 35 | AC cable, appropriately rated for current-carrying capacity and installation environment. |
| 9 | Protection Accessories | 1 | Include breakers, surge protection, isolators, fuses, earthing, combiner/accessory items, labels, lugs, glands, etc. |
| 10 | Transportation & Installation Cost | 1 | Include delivery to site, offloading, installation labor, tools, commissioning, and handover. |
| 11 | Integrated Solar Street Lights | 10 | Complete solar street light units with poles/brackets where required, batteries, luminaires, and controls. |

Bidders shall submit a fully priced BOQ against the quantities listed above and shall also provide product data sheets, country of origin, make/model, warranty information, and clear identification of any included accessories. NLA expects a complete and functioning installation, and omission of necessary minor materials shall not justify additional claims afterward.

## Minimum Technical Requirements

All equipment shall be new, unused, and of current production.

PV modules shall be supported by manufacturer data sheets and standard product warranties.

Battery systems shall be compatible with the inverter and system controls, with integrated battery management and protective features.

All electrical cables shall be of proper size, insulation class, and installation grade for the intended use.

All metallic structures shall be corrosion-resistant and suitable for the coastal and hot-climate environment of Kismayo.

Protection devices shall include all necessary AC/DC isolators, fuses, breakers, surge protection, grounding/earthing materials, and warning labels.

The installed system shall comply with good electrical engineering practice and applicable safety standards.

## Delivery, Installation, Testing and Commissioning Requirements

Prepare and submit an implementation plan before mobilization.

Protect existing campus infrastructure during transport and installation activities.

Carry out insulation tests, polarity checks, continuity tests, earthing verification, battery/inverter configuration, and operational testing.

Provide commissioning records signed by the contractor and NLA representative.

Provide user training for designated NLA staff on routine operation, shutdown, monitoring, and first-line troubleshooting.

## Documentation and Handover

As-built single line diagram and layout sketches

Equipment schedule with serial numbers and warranty periods

Operation and maintenance manuals

Manufacturer warranties and supplier warranty certificate

Commissioning report and test sheets

Training attendance sheet and handover certificate

# Section VI - Bid Forms and Annexes

Bidders shall complete, sign, and submit the forms below.

## Form 1. Form of Tender

- Tender Reference No.: ITB/NLA/2026/005

- To: National Leadership Academy

- We, the undersigned, having examined the bidding documents, hereby offer to execute the supply, delivery, installation, testing and commissioning of the solar system upgrade and expansion works for the National Leadership Academy campus in conformity with the bidding documents for the total bid price stated in our priced schedules.

- Our bid shall remain valid for 120 calendar days from the deadline for submission of bids and shall remain binding upon us and may be accepted at any time before the expiry of that period.

- If our bid is accepted, we undertake to furnish the required performance security, commence performance promptly upon contract signature, and complete the contract within the required completion period.

- Authorized Signatory: _________________________

- Name: _____________________________

- Title: ______________________________

- Date: _______________

## Form 2. Bidder Information Form

| - Legal name of bidder |  |
| --- | --- |
| - Registration number |  |
| - Year of incorporation |  |
| - Tax identification number |  |
| - Registered address |  |
| - Physical address |  |
| - Telephone |  |
| - Email |  |
| - Authorized contact person |  |
| - Ownership structure |  |
| - Core business activities. |  |

## Form 3. Bidder Eligibility and Integrity Declaration

- The bidder confirms that it is not debarred, insolvent, blacklisted, or subject to sanctions, and that it will comply with applicable laws, anti-corruption obligations, and ethical procurement requirements.

- Authorized Signatory: _________________________

- Name: _____________________________

- Title: ______________________________

- Date: _______________

## Form 4. Past Experience Form

Provide at least three contracts of similar nature completed within the last five years, indicating client name, location, scope, contract value, completion period, and contact details for reference checks.

| - Contract 1 |  |
| --- | --- |
| - Client Name |  |
| - Location |  |
| - Scope |  |
| - Completion period |  |
| - Client Contact/email |  |

| - Contract 2 |  |
| --- | --- |
| - Client Name |  |
| - Location |  |
| - Scope |  |
| - Completion period |  |
| - Client Contact/email |  |

| - Contract 3 |  |
| --- | --- |
| - Client Name |  |
| - Location |  |
| - Scope |  |
| - Completion period |  |
| - Client Contact/email |  |

- Note: Bidder should provide the proof of the above contract as separate and supporting attachment

## Form 5. Personnel and Equipment Schedule

- List key staff proposed for this assignment and major tools/equipment available for installation, testing, lifting, access, and safety control.

# 1. Proposed Key Staff

| S/N | Position Title | Name | Qualification | Years of Experience | Key Responsibilities |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |

# 2. Tools and Equipment Available

| S/N | Equipment/Tool | Quantity | Purpose/Use | Condition (New/Good) |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |

## Form 6. Warranty and After-Sales Service Plan

- State warranty periods, response times, local support arrangements, spare parts availability, and contact channels for maintenance and fault response.

## Form 7. Price Schedule / BOQ

| No. | Description | Qty | Unit | Unit Price | Total Price | Make / Model |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | High Quality 600Watt Solar PV | 50 | Item |  |  |  |
| 2 | Battery 51.2kWh | 1 | Item |  |  |  |
| 3 | Battery Cable 50 mm Square | 22 | Item |  |  |  |
| 4 | ET 50kW Inverter | 1 | Item |  |  |  |
| 5 | STS | 1 | Item |  |  |  |
| 6 | Solar Structure | 50 | Item |  |  |  |
| 7 | PV Solar Cable 6mm Square | 2400 | Item |  |  |  |
| 8 | AC Cables 35mm Square | 35 | Item |  |  |  |
| 9 | Protection Accessories | 1 | Item |  |  |  |
| 10 | Transportation & Installation Cost | 1 | Item |  |  |  |
| 11 | Integrated Solar Street Lights | 10 | Item |  |  |  |
| Grand Total Bid Price (USD) |  |  |  |  |  |  |

## Form 8. Code of Conduct / Anti-Fraud Declaration

- The bidder commits to preventing bribery, exploitation, abuse, child labor, discrimination, and other prohibited practices during contract performance. This is attached as annex 1 to this bid document. Bidder is required to read and confirm acceptance by appending signature.

# Section VII - Conditions of Contract and Special Conditions

## General Conditions of Contract.

The Contract shall be a lump-sum / BOQ-based supply-and-installation contract as specified in the Letter of Award and Contract Agreement.

The Contractor shall perform the works with due care, skill, diligence, and in accordance with accepted professional practice.

The Contractor shall not subcontract the whole of the works and shall not subcontract any material portion without prior written approval of NLA.

Title to goods shall pass to NLA upon delivery and payment in accordance with the Contract, subject to successful installation and acceptance where applicable.

The Contractor shall remain responsible for all equipment until final acceptance.

The Contractor shall comply with all applicable tax, labor, safety, environmental, and importation requirements.

NLA may inspect the goods and works at any stage and may reject defective or non-conforming items.

The Contractor shall remedy defects identified during the defect’s liability / warranty period at no additional cost to NLA.

The National Leadership Academy may terminate the contract for default, insolvency, corrupt practices, prolonged delay, or convenience, subject to the terms of the contract.

## Preliminary Special Conditions of Contract

Contract commencement: within 7 calendar days of contract signature or notice to proceed.

Completion period: 21 calendar days from commencement.

Payment schedule may be structured as: Payment shall be upon installation and testing of the system.

Warranty: minimum 12 months for workmanship and pass-through manufacturer warranties for supplied equipment.

Applicable law: Laws applicable in the Federal Republic of Somalia unless otherwise stated in the final contract.

Dispute resolution: amicable settlement first, then arbitration or competent courts as specified by NLA.

# Section VIII - Contract Forms

## Letter of Award

NLA may issue a Letter of Award to the successful bidder indicating the accepted contract price, commencement conditions, deadline for performance security, and date for execution of the Contract Agreement.

## Contract Agreement

The final contract agreement shall be concluded and mutually agreed upon by both parties following the award.

## Handover and Completion Certificate

Upon successful completion, testing, commissioning, training, and submission of required documentation, NLA and the Contractor shall sign a Handover / Completion Certificate. This shall not relieve the Contractor from warranty obligations.